IOCCG Meeting, Quebec City, Quebec, Canada – 5-7 February 2013

Discussion on the Implementation of the OCR-VC and INSITU-OCR Key Points:

1. Recommendations from IOCCG Report 13:  Mission Requirements for Future Ocean-Colour Sensors

IOCCG Discussion Point:  Upon publication of the IOCCG Report 13 (“Mission Requirements for Future Ocean-Colour Sensors”) ESA and CSA ran compliance matrices of the polar-orbiting ocean color mission/instrument requirements from the report recommendations against the planned ESA and CSA ocean color instruments/missions, respectively.  Both agencies identified outstanding actions.  These agencies were highly commended by IOCCG for this.  It wasn’t totally clear if or how the agencies will seek to reconcile differences between the requirements, but those specific agency missions may be too far in the planning or development stage to address identified non-compliances.  A follow-up action would be for each agency to consider the same approach for assessing the capacity of agency instrument(s)/mission(s) to enable ocean color ECV production.

2. Recommendations from INSITU-OCR White Paper

The Ocean Color Radiometry - Virtual Constellation (OCR-VC) developed in the context of the Committee on Earth Observation Satellites (CEOS), aims at producing sustained data records of well calibrated and validated satellite ocean color radiometry to assess the impact of climatic changes on coastal and open sea waters. Within this framework, the International Network for Sensor Inter-comparison and Uncertainty Assessment for Ocean Color Radiometry (INSITU-OCR) initiative aims at integrating and rationalizing inter-agency efforts on satellite sensor inter-comparisons and uncertainty assessment for remote sensing products with particular emphasis on requirements addressing the generation of Ocean Color Essential Climate Variables (ECV) as proposed by the Global Climate Observing System (GCOS). Under the guidance of the International Ocean Color Coordinating Group (IOCCG), representatives of Space Agencies and Institutions supporting INSITU-OCR agreed on a series of recommendations on activities critical to ensure high accuracy and consistency among products from present and future ocean color missions.   Special consideration is given to traceability, application and accessibility of the necessary in situ measurements, which are a fundamental element of any ocean color mission.  (EC/JRC, NASA, IOCCG, ESA, EUMETSAT, NOAA, NIST, JAXA, KORDI, ISRO, CNES)

A former IOCCG Action that would be a good action for CEOS OCR-VC member agencies:  IOCCG agencies and members define commitments for implementation of INSITU-OCR.  I can provide a draft schematic for consideration, but it would be nice, based on the itemized INSITU-OCR recommendations below if each agency could identify what they might be willing to virtually “contribute”, thus beginning to implement the “modular” approach to OCR-VC and INSITU-OCR implementation.

1.0 Space Sensor Radiometric Calibration, Characterization and Temporal Stability

IOCCG Discussion Point:  splinter session to discuss this topic at the International Ocean Color Science Team Meeting in May 2013, Satellite instrument pre- and post-launch calibration

R1.1 Comprehensive pre-launch instrument calibration/characterization - all sensors undergo a comprehensive pre-launch instrument calibration and characterization traceable to SI standards.

R1.2 Open access to calibration and characterization data - open access to the comprehensive pre- and post-launch instrument calibration and characterization data for all ocean color sensors.

R1.3 Permanent working group on satellite sensor calibration - Experts from ocean color mission calibration teams should meet regularly to review calibration and characterization methodologies and results, cross-calibration studies, and address instrument issues affecting data quality.

IOCCG Discussion Point:  IOCCG discussed the establishment of a Satellite Sensor Calibration Task Force – standing WG under IOCCG that could interface with CEOS WGCV (2013 deliverable to facilitate INSITU-OCR Implementation).  ESA made the suggestion to split out on orbit instrument calibration from vicarious calibration (which ESA recommends should be the focus of this group).  ESA sees the CEOS IVOS as already addressing on orbit calibration.  The question was raised to the agencies do the agencies support the CEOS IVOS / WGCV?  Many do not.  Many IOCCG members agreed that the two topics, on orbit instrument calibration and vicarious calibration need to be addressed together and that the TF should remain in IOCCG and could liaise with WGCV.  IOCCG Chair has collected feedback and will make a recommendation shortly regarding the TF for final IOCCG agency consideration.

Background on the proposed IOCCG Satellite Sensor Task Force:  A recommendation to establish a permanent Task Force for satellite sensor calibration comes from the white paper of the International Network for Sensor Inter‐comparison and Uncertainty Assessment for Ocean Color Radiometry (INSITU‐OCR) initiative. INSITU‐OCR has been created under the framework of the Committee on Earth Observation Satellites (CEOS) Ocean Color Radiometry ‐ Virtual Constellation (OCR‐VC). The INSITU‐OCR white paper recognizes the need for the Space Agencies to facilitate collaboration among sensor characterization and calibration experts in order to maximize the accuracy and temporal and spatial stability of OCR records from individual missions. OCR necessitates a special consideration because its mission requirements are particularly demanding: 0.5% absolute uncertainty on sensor measured reflectances and a significantly lower uncertainty on spatial and mission‐long stabilities. These challenging accuracies concern all applications, climate, research and services, and are most effectively addressed by a collective effort and heterogeneous expertise. The Space Agencies on the IOCCG Executive Committee contributing to the OCR‐VC initiative are expected to support this Task Force with dedicated resources.  There is a full, three-page proposal lead by EUTMETSAT on the TF.

R1.4 Vicarious calibration - Maintain at least one long-term vicarious calibration site with SI traceable radiometry pursuing the objective of producing and delivering highly accurate measurements collected under ideal measurement condition (e.g., spatial homogeneity, known aerosol and marine optical properties) in a region representative of global ocean observations. Multiple sites are encouraged, but their equivalence in performance is fundamental. It is essential that a rigorous metrology be established at each measurement site in view of assuring measurement traceability. Because of this, inter-comparisons of each relevant component of the vicarious calibration process should be encouraged and differences thoroughly investigated. Within such a context the adoption of a commonly agreed vicarious calibration approach, supported by sharing of processing modules, would enhance inter-mission consistency of radiometric products. Vicarious calibration should be reassessed whenever the instrument calibration or OCR retrieval algorithm is modified, and uncertainties on the derived gains should also be reported to support the determination of OCR uncertainties.

IOCCG Action for CEOS:  in support of the 2015 GEO work plan, there is a deliverable to quantify requirements for, identify and (plans for) support three long-term cal/val sites that run across satellite missions by 2015

IOCCG Discussion Point:  splinter session to discuss this topic at the International Ocean Color Science Team Meeting in May 2013, Vicarious calibration paradigm - to be revised?

R1.5 Support for calibration teams - maintain support for the calibration team throughout the life of the mission. As the expertise required for this effort is highly specialized, the calibration teams should be considered associated with the measurements and not to any specific mission. Such a measurement-based approach will ensure the expertise required will span multiple missions, providing a necessary continuity and transfer of knowledge.

R1.6 Assess and correct for instrument degradation - all missions should have at least one suitable system to monitor the temporal degradation and episodic changes in sensitivity of the instrument (Yoder et al. 2011, McClain et al. 2012). Additionally, Space Agencies should commit to supporting continuous assessment and correction for temporal changes in instrument radiometric performance, and to quantifying uncertainty in the temporal calibration.

2.0 Development and Assessment of Satellite Products

R2.1 Distribution of calibrated and uncalibrated data - in addition to distribution of calibrated data (i.e., Level 1B), promote the distribution of uncalibrated data (e.g., Level-0 or Level-1A) and the sharing of tools necessary to apply the calibration and characterization information.

R2.2 Permanent working groups on algorithm topics - support international working groups on OCR related algorithms and associated uncertainties, to achieve consensus on the most effective and consistent approach for multi-mission satellite application

R2.3 Product uncertainties - Enforce quantification of uncertainties on a pixel-by-pixel basis in satellite OCR and derived products.

R2.4 Regional bio-optical algorithms - Programs for the development of regional bio-optical algorithms should be promoted with emphasis on the definition of uncertainties and inter-regional merging of products. When existing data sets would not suit the purpose, new field programs should also be enforced for generating the required measurements.

R2.5 Open access to source codes for processing algorithms - offer the ability to process the data from their respective missions through a common set of algorithms and to make the source code for those algorithms open and available for review and implementation by others.

R2.6 Long-term field measurement programs - should be established and maintained beyond any individual mission relying on consolidated instruments, calibration methods and measurement protocols. In situ data designated to support satellite ocean color validation programs should be globally and seasonally distributed, and cover a broad range of water types including areas exhibiting different trophic levels as well as waters dominated by colored dissolved organic matter or sediments.

R2.7 Validation protocols - The definition, implementation and application of common validation protocols should be strongly encouraged. This should translate into the construction of matchups using identical criteria as well as reporting results through identical statistical measures

R2.8 Level-3 data products generation - produce data sets of global, binned (Level-3) OCR and derived products. The binning strategy and spatial/temporal resolution of these Level-3 ECV data sets should be identical, including the use of a unified naming convention.

R2.9 Ancillary data - agree on the use of a consistent set of ancillary data sources for the production of ECVs from ocean color sensors. In case of differences, the evaluation of their effects in satellite products is highly encouraged. Finally, ancillary data should be provided in specific files independent from satellite data. This latter aspect is relevant to minimize the volume of data to re-distribute in case of any change affecting ancillary data

3.0 In Situ Data

IOCCG Discussion Point: splinter session to discuss this topic at the International Ocean Color Science Team Meeting in May 2013, Multi-agency data sharing (satellite and in situ data)

R3.1 Improving traceability of in situ measurements - enforce common calibration schemes and measurement protocols, and unifying processing schemes and quality assurance criteria to ensure consistency and traceability of in situ measurements to SI standards. Inter-comparison exercises should be considered as the means to enforce traceability by promoting state-of-art on instrument calibration, measurement methods, data processing, and quality assurance. Practical implementation of inter-comparisons may entail a series of round-robins on specific topics together with training opportunities

R3.2 Continuous consolidation and update of measurement protocols - Measurement protocols should be consolidated as a result of a critical review and update of those currently documented in peer-review literature or already included in compilations produced by former programs. Consolidated protocols should then be published using modern communication methods. A possibility would be to create “living documents” (e.g. Wiki format, easily accessible and modifiable through continuous community contributions and discussions, but envisaging mechanisms for tracking successive versions). This objective could be initiated through independent and well focused workshops on protocols for the determination of in situ data from: i. water apparent optical properties; ii. water inherent optical properties; iii. Water pigments; and iv. atmospheric optical properties. Expertise on standardization quality assurance should be represented in each leading activity.

IOCCG Discussion Point: splinter session to discuss this topic at the International Ocean Color Science Team Meeting in May 2013, In situ measurement protocol revision for cal/val

R3.3 Uncertainty budgets - In situ data should be linked to uncertainty budgets determined in agreement with defined protocols and accounting for a comprehensive range of uncertainty sources. Ideally these uncertainty budgets should include contributions from calibration, processing, deployment restrictions, and environmental conditions.

R3.4 Quality Assurance of in situ data - Define and implement quality assurance schemes for in situ data. These criteria should be specific for the different quantities and should take benefit of ancillary information provided with the data itself (e.g., cloud cover or sea state in the case of radiometric data), empirical thresholds, closure between inherent and apparent optical properties, models estimate.

R3.5 Archival of in situ data - Centralized open access data repositories should be established, supported and maintained beyond any individual mission’s life. Repositories should ideally have the capability of indexing data as a function of their fitness for specific applications (e.g., vicarious calibration, bio-optical modeling, and validation). Suitable mechanisms should be put in place to warrant data submission (e.g., requesting timely data delivery for field data produced within the framework of measurement programs funded by Space Agencies, or creating benefits like full processing and quality assurance of submitted data, or, where appropriate, convincingly recommending authors exploiting archived data to contact contributors and offer co-authorship).

R3.6 Community processor for in situ data - Design, implement and apply community consensus processors for in situ data. This development should proceed through incremental steps, for instance by initially creating open access libraries and requesting manufacturers to adopt common (or user definable) data formats.

R3.7 Priority for variables to be collected - A list of variables considered essential for satellite ocean color applications should be defined and considered with high priority by any field program

R3.8 General coordination of field campaigns - Establish a coordination mechanism to allow for a continuous exchange of information on forthcoming field activities to create opportunities for collaboration including instrument exchange, field training, inter-comparisons. The coordination should be instrumental in ensuring the collection of prioritized in situ variables meeting the basic needs for satellite ocean color applications. A web page service may efficiently support the activity.

4.0 Information Management and Support

R4.1 Accessibility and distribution of large volumes of data - the entire archive of satellite data products be freely and easily accessible in a timely manner, and that the Space Agencies should enter into data sharing agreements so that the source data for all missions are provided to their partner Agencies as a means of facilitating inter-mission comparisons, to provide mirror sites for improved user access to the data and to act as a data-loss risk reduction mechanism. The access to data should also include the additional capability of fast extraction and prompt delivery of data products for local areas.

IOCCG Discussion Point: splinter session to discuss this topic at the International Ocean Color Science Team Meeting in May 2013, Multi-agency data sharing (satellite and in situ data)

R4.2 Processing capabilities for calibration and validation activities - Establish appropriately scaled processing system architectures and computer infrastructures to support substantial reprocessing for calibration and validation analyses, in addition to operational processing and regular re-processing. It is recommended that the processing system should be able to support reprocessing for calibration and validation studies efficiently from Level-1A (or Level-0) to Level-3 at a rate of at least 5-15% of the global mission per calendar day.

R4.3 Accessibility to documentation - A minimum set of documentation on missions/data products should be made available. This should include documentation on the implementation of the instrument characterization and calibration and associated pre- and post-launch data, the relative spectral response functions for the instrument bands, and the derivation and validation of Ocean Color ECV algorithms. These may be best implemented as on-line living documents (e.g., Wiki).

R4.4 Data formats - a common data format be agreed upon for the storage of the satellite data should be produced by all Space Agencies. A good example is netCDF with CF compliant metadata. At a minimum, tools should be provided by the Space Agencies to allow users the ability to easily read the files – whatever the format.

IOCCG Discussion Point: splinter session to discuss this topic at the International Ocean Color Science Team Meeting in May 2013, Satellite data file formats and tools for easy science exploitation

R4.5 Support for open source data processing and visualization - support the development and distribution of open-source data processing and visualization software, including the source code used in the generation of mission Ocean Color ECVs. Additional software tools allowing for remote access and analysis of OCR and derived products are also encouraged. This effort should be considered an essential contribution to ocean color science that transcends any mission lifetime.