## Slide 1: Progress with MAX-DOAS observations to validate TROPOMI Collection 3 and GEMSv3 NO2 (TropVCD)
Yugo Kanaya, Phuc T. M. Ha (JAMSTEC), Yongjoo Choi (HUFS), and colleagues
GEMS (grid size 0.5°×0.5°; SZA<85°; CF<30%)
Yongin w. Pandora
(since 2021/09)
Yokosuka
w. Pandora
(since 2018/11)
June, 2021
Kanaya et al. ACP 2014, Choi et al. (RS, 2021), Ha et al. (submitted to PEPS, 2025)
7 x MAX-DOAS
2 x Pandora
Fukue
Cape Hedo
Gwangju
Seoul (Korea U.)
Incheon
(POSCO tower)
https://www.jamstec.go.jp/egcr/e/atmos/observation/maxdoashp/
CEOS AC-VC#21, Takamatsu, 11 Jun 2025

## Slide 2: Validation of TROPOMI Collection 03 and GEMSv3 NO2
https://mpc-vdaf.tropomi.eu/
Notes: https://mpc-vdaf.tropomi.eu/

## Slide 3: Improved MAX-DOAS retrieval: agreed better with co-located CAPS and Pandora
Updated optimal estimation parameters :
State vector (TNO2VCD, v0-1km, v1-2km, v2-3km); Uncertainty range (Sa(2,2), (3,3), (4,4)=(0.05, 0.03, 0.03)
v0-0.5km, v0.5-1km, v1-2km (ini = 0.6, 0.5, 0.8)
0.4, 0.4, 0.2
TropNO2VCD
Surface in-situ NO2
CAPS(in situ)-NO2
MAX-DOAS retrieval
MAX-DOAS
CAPS(insitu)-NO2
MAX-DOAS increased by a factor of 2
Slope ~1.2
Pandora #146 (nvs) Total - strato
MAX-DOAS retrieval
MAX-DOAS
Pandora #146 (nvs)
Total - strato
MAX-DOAS decreased by ~10%, Slope ~1.15
Yokosuka
Notes: F:\maxdoas\results\was_yok1_22_2405.xlsm
F:\maxdoas\results\was_yok1_22_2405_maxdoas_vs_pandoracaps.png

## Slide 4: GEMSv3 & TROPOMI TropNO2VCD vs. iMAX-DOAS: Yokosuka
MAXDOAS
MAXDOAS
MAXDOAS
MAXDOAS
GEOSChem
Douros et al., 2023
GEMS v3
slope = 0.79
R2 = 0.58
TROPOMI
slope = 0.63
R2 = 0.76
slope=1.90
slope=1.33
When AVK & MAX-DOAS profile are used for smoothing..
GEMSv3 performed well, as TROPOMI, when validated against iMAX-DOAS, in terms of slope and correlation.
Comparisons considering “vertical profile shapes and AVK” are still difficult, as the NO2 profile shapes are not certain enough (Though GEMSv3(GEOSChem) profiles and AVKs look OK)
Chart: AVK (TropNO2) GEMSv3
| 0.31157220558944726 | 0.35823963048639823 | 0.4059044263973613 | 0.45675249690024766 | 0.51154618466611734 | 0.57016274987634019 | 0.6312984041220121 | 1.0442332798021463 | 1.3159100308326479 | 1.3706007459192078 | 1.4186477686727157 | 1.4602670352844198 | 1.5078802811211844 | 1.5579761389942266 | 1.6014476702390821 | 1.6411739511953911 | 1.795329897444351 | 2.0487577183841674 | 2.1021016796372614 | 2.1472152468260575 | 2.1903295879637281 | 2.2318156153338871 | 2.2745757452596806 | 2.3434860103874664 | 2.3817609429513711 | 2.4163036326463323 | 2.4487720270403996 | 2.4879692016487995 | 2.5185032356141841 | 2.5408599195383328 | 2.5580230305028859 | 2.5682234707337201 | 2.5731903231657012 | 2.5743014558944743 | 2.5721702159933977 | 2.5677217394888729 | 2.5540420412201144 | 2.5372323231657079 | 2.5200178615004094 | 2.5042121879637245 | 2.4797133899422978 | 2.4638821203627423 | 2.4543255713107976 | 2.448228550700736 | 2.4437352728771571 | 2.4392326067600987 | 2.432332613355316
 | 0.058 | 0.189 | 0.32 | 0.454 | 0.589 | 0.726 | 0.864 | 1.004 | 1.146 | 1.29 | 1.436 | 1.584 | 1.759 | 1.988 | 2.249 | 2.517 | 2.792 | 3.074 | 3.439 | 3.896 | 4.375 | 4.879 | 5.413 | 5.98 | 6.585 | 7.237 | 7.943 | 8.846 | 9.936 | 11.021 | 12.086 | 13.134 | 14.17 | 15.198 | 16.222 | 17.243 | 18.727 | 20.836 | 23.02 | 25.307 | 28.654 | 34.024 | 40.166 | 47.135 | 54.834 | 63.053 | 72.18
Chart: Yokosuka NO2, GEMSv3 & MAX-DOAS
| 2934283687386698.5 | 2324937901401476 | 1620831412530919 | 1112337151690028 | 785139252926636.25 | 569795412366034.63 | 420406811871393.25 | 317656285572959.63 | 245740554822753.5 | 193031806908491.34 | 154319403759274.53 | 165551564319868.09 | 159622999258037.94 | 112000312827699.92 | 75007546084089.031 | 54653288161582.852 | 42157558483099.75 | 47992325622423.742 | 36485651145919.211 | 30363732794723.824 | 26565683841714.758 | 24031073784006.594 | 22011088903544.93 | 19857169018961.254 | 17556672860676.01 | 15788258235779.061 | 19465190008244.023 | 17183166875515.252 | 15980126166529.266 | 15178595581203.627 | 12470825230008.244 | 10945865277823.578 | 14428512494641.385 | 22215356257213.52 | 34075365737840.066 | 110256089051937.34 | 163676016570486.41 | 216619029183841.72 | 296315085902720.5 | 906772025391590.63 | 993059400659506.63 | 533629579389942.31 | 111677499274525.97 | 5307524189612.5313 | 189503358450.12366 | 1934195111.2943115
 | 0.058 | 0.189 | 0.32 | 0.454 | 0.589 | 0.726 | 0.864 | 1.004 | 1.146 | 1.29 | 1.436 | 1.584 | 1.759 | 1.988 | 2.249 | 2.517 | 2.792 | 3.074 | 3.439 | 3.896 | 4.375 | 4.879 | 5.413 | 5.98 | 6.585 | 7.237 | 7.943 | 8.846 | 9.936 | 11.021 | 12.086 | 13.134 | 14.17 | 15.198 | 16.222 | 17.243 | 18.727 | 20.836 | 23.02 | 25.307 | 28.654 | 34.024 | 40.166 | 47.135 | 54.834 | 63.053 | 72.18
"MAX-DOASredistributed" | 0.058 | 0.189 | 0.32 | 0.454 | 0.589 | 0.726 | 0.864 | 1.004 | 1.146 | 1.29 | 1.436 | 1.584 | 1.759 | 1.988 | 2.249 | 2.517 | 2.792 | 3.074 | 3.439 | 3.896 | 4.375 | 4.879 | 5.413 | 5.98 | 6.585 | 7.237 | 7.943 | 8.846 | 9.936 | 11.021 | 12.086 | 13.134 | 14.17 | 15.198 | 16.222 | 17.243 | 18.727 | 20.836 | 23.02 | 25.307 | 28.654 | 34.024 | 40.166 | 47.135 | 54.834 | 63.053 | 72.18
Δlat, lon<0.05, Δt<30min,
GEMS v3: Final Algorithm Flag=0, CF<0.3
TROPOMI: Collection 3 (≥v2.4), qa value>0.75, CRF<0.5
Notes: F:\gemsv3no2_Yokosuka\gemsv3_yokosuka_2201-2406avk_r.xlsm
F:\tropomi_yokosuka_out240730reduced_avk240805.xlsm
F:\gemsv3no2_Yokosuka\gemsv3_tropomi_yokosuka_fukue_hedo_2201-2406_avk.pxp, png

## Slide 5
GEMSv3 & TROPOMI TropNO2VCD vs. iMAX-DOAS: Fukue & Cape Hedo
At cleaner sites, GEMSv3 TropNO2VCD also agrees well with iMAX-DOAS as well as TROPOMI.
Y-axis intercepts diminished to (0.5-2) from GEMSv2 (3-10)x1015 cm-2.
(Bi-variate regressions are difficult to evaluate for Cape Hedo)
GEMS v3
slope = 0.51
R2 = 0.18
TROPOMI
slope = 0.57
R2 = 0.34
GEMSv2.0
Δlat, lon<0.05, Δt<30min,
GEMS v3: Final Algorithm Flag=0, CF<0.3
TROPOMI: Collection 3 (≥v2.4), qa value>0.75, CRF<0.5
Notes: gemsv3_tropomi_yokosuka_fukue_hedo_2201-2406_avk.pxp
gemsv3_tropomi_fukue_hedo_2201-2406_nonavk.png

## Slide 6: Diurnal variation of GEMSv3 TropNO2VCD
Yokosuka
GEMSv3/MAX-DOAS ratio
(TropNO2VCD)
Fukue
Cape Hedo
Ha et al., submitted 2025
DJF
MAM
JJA
SON
DJF
MAM
JJA
SON
DJF
MAM
JJA
SON
Almost flat and close to unity over time of day

## Slide 7: Aerosol shielding effect?
GEMS/MAX-DOAS ratio
(TropNO2VCD)
TROPOMI/MAX-DOAS ratio
(TropNO2VCD)
AOD
Surface Albedo/Reflectance440
CF<0.05, Yokosuka
Kanaya et al., ACP 2014 (OMI validation)
OMI/MAX-DOAS ratio
(TropNO2VCD)
Notes: F:\gemsv3no2_Yokosuka\gemsv3_tropomi_maxdoasratio_aod_alb.png

## Slide 8: TropNO2VCD midday decay rates in clean region (Cape Hedo, Autumn)
TCR-2
22±20 h
MAX-DOAS
21±5 h
GEMSv3
16±10 h
MAX-DOAS
GEMSv3
TROPOMI
TCR-2
Sep-Oct-Nov
Ha et al., submitted 2025

## Slide 9: Challenges: True NO2 profile shapes? MAX-DOAS vs. aircraft during ASIA-AQ
No in-situ data under ~ 1 km
Livestock
Osan Airbase
Seoul
Teaan
Teaan PP
Yeonghueng PP
Dangjin PP
Deasan
Hyundai
Target 2. HUFS
(Pandora/MAX-DOAS)
Target 1. Power plants
Target 3. Livestock
MAX-DOAS
(2021.10~)
Pandora
(2023.09~)
KingAir C90GT
Choi et al. in preparation, 2025

## Slide 10: Summary
Validation tools improved: With algorithm update (optimal estimation), MAX-DOAS agreed better with Pandora (TropNO2VCD) and CAPS (surface NO2) at Yokosuka.
GEMSv3.0 performance (TropNO2VCD) improved: Against iMAX-DOAS, GEMSv3.0 performed as well as TROPOMI. Diurnal variations are almost reasonable. Same for Fukue, Cape Hedo, and Korean sites.
Challenges: NO2 vertical profiles are yet difficult to determine from MAX-DOAS, hindering comparisons with AVK-smoothing. Benchmarking with aircraft observations etc. is underway.