## Slide 1: Satellite Total Ozone Column Intercomparison against the WOUDC Dobson Network
MariLiza Koukouli, Eirini Zyrichidou and Dimitris Balis
Laboratory of Atmospheric Physics,
Aristotle University of Thessaloniki

## Slide 2: The rational
In order to homogenize the long term total ozone columns [TOCs] from satellite instruments flying on ESA, EUMETSAT, NASA & NOAA missions a common validation exercise is performed using the World Ozone and Ultraviolet Radiation Data Centre (WOUDC) Dobson spectrophotometer total ozone columns at selected stations.
Hence the long term satellite TOCs will be assessed against a common background TOC set and possible issues identified [or not!]

## Slide 3: The comparison methodology
Mean Relative Difference, MRD, as
  100*[Satellite - Ground]/Ground
Monthly MRD vs time for the NH & the SH.
Daily MRD vs. solar zenith angle [bins of 5°]
Daily MRD vs. cloud fraction [bins of 0.1]
Daily MRD vs. cloud top pressure [bins of 100 mbars]
Daily MRD vs. total ozone column [bins of 50 D.U.]
Daily MRD vs. latitude [bins of 10°]
Daily MRD vs. effective T° [bins of 2°]
Monthly MRD vs. month of year [=Jan to Dec]

## Slide 4: The satellite instruments/algorithms - I
Instrument | Time span | Algorithm
GOME1/ERS | 1995-2011 | GODFIT v3
SCIAMACHY/Envisat | 2002-2012 | GODFIT v3
OMI/Aura | 2005-2013 | OMTO3 (v8.5, Collection 3)
GOME 2/MetopA | 2007-2013 | GODFIT v3
Suomi NPP OMPS | 2012-2013 | TC-O3 (PGE 1.0)
TOMS/EP & TOMS/Nimbus 7 data missing from the exercise.

## Slide 5: The satellite instruments/algorithms - II
Instrument | Time span
BUV/Nimbus 4 | 1970-1976
SBUV/Nimbus 7 | 1978-1990
SBUV/NOAA 9 | 1985-1998
SBUV/NOAA 11 | 1989-2001
SBUV/NOAA 14 | 1995-2006
SBUV/NOAA 16 | 2000-2011
SBUV/NOAA 17 | 2002-2011
SBUV/NOAA 18 | 2005-2011
SBUV/ Merged | 1980-2011
All are analyzed with the SBUV v8.6 algorithm.

## Slide 6: The Dobson stations
Instruments | # of stations
GOME1/ERS | 51
GOME2/MetopA | 41
SCIAMACHY/Envisat | 45
OMI/Aura | 41
OMPS/Suomi NPP | 33

## Slide 7: The Dobson stations
Instruments | # of stations
SBUV_04 | 36
SBUV_07 | 49
SBUV_09 | 55
SBUV_11 | 51
SBUV_14 | 49
SBUV_16 | 44
SBUV_17 | 43
SBUV_18 | 39
SBUV_merged | 56

## Slide 8: The nomenclature of this presentation
For each of the chosen comparative plots we show:
  first the statistics of the five non-SBUV instruments, i.e. GOME1/SCIAMACHY/OMI/GOME2 and NPP, including the SBUV merged dataset.
  … followed directly by the eight SBUV instruments, also including the SBUV merged dataset.
The y-axis ranges, which depict [unless otherwise stated] the difference in percentage as [satellite – ground]/ground in %, may vary from ±5% to ±10%.
The x-axis ranges may vary between the two sets of plots due to the different time spans.
No standard deviation shown as they were meaningless with the amount of data shown in each plot.
And… here we go!

## Slide 9: Northern Hemisphere - time series
Instrument | Mean ± Sdev %
SBUV | 1.00±0.82%
GOME1 | 1.15±0.88%
GOME2 | 0.32±0.81%
SCIAMACHY | 0.41±1.00%
OMI | -0.96±0.60%
OMPS | 1.99±1.08%
Notes: Only 16 data points for Jan 2012, whereas the rest of the months have more than 100-200 points. However, almost all points are quite high, 5-7% difference. Maybe exclude Jan 2012 from the analysis?

## Slide 10: Northern Hemisphere - time series
Instrument | Mean ± Sdev %
SBUV | 1.06±1.03%
SBUV_04 | 2.17±1.47%
SBUV_07 | 1.32±1.15%
SBUV_09 | 0.61±0.78%
SBUV_11 | 0.97±0.98%
SBUV_14 | 0.98±0.99%
SBUV_16 | 0.71±0.85%
SBUV_17 | 0.51±0.71%
SBUV_18 | 0.88±0.93%

## Slide 11: Southern Hemisphere - time series
Instrument | Mean ± Sdev %
SBUV | 0.70± 0.67%
GOME1 | 0.97±1.04%
GOME2 | 0.75±0.87%
SCIAMACHY | 0.65±0.72%
OMI | -0.43±0.51%
OMPS | 0.63±0.45%

## Slide 12: Southern Hemisphere - time series
Instrument | Mean ± Sdev %
SBUV | 0.92±0.96%
SBUV_04 | 1.19±1.09%
SBUV_07 | 0.79±0.89%
SBUV_09 | 0.55±0.74%
SBUV_11 | 0.93±0.96%
SBUV_14 | 1.18±1.08%
SBUV_16 | 0.76±0.87%
SBUV_17 | 0.70±0.83%
SBUV_18 | 0.83±0.91%

## Slide 13: Latitudinal dependency
Instrument | Mean ± Sdev %
SBUV | 0.92±1.10 %
GOME1 | 0.75±1.13 %
GOME2 | 0.52±0.96 %
SCIAMACHY | 0.31±1.16 %
OMI | -0.69±0.83 %
OMPS | 0.86±1.13 %

## Slide 14: Latitudinal dependency
Instrument | Mean ± Sdev %
SBUV | 0.95±0.97%
SBUV_04 | 1.53±1.24%
SBUV_07 | 1.30±1.14%
SBUV_09 | 0.15±0.39%
SBUV_11 | 0.68±0.82%
SBUV_14 | 0.84±0.92%
SBUV_16 | 0.47±0.69%
SBUV_17 | 0.38±0.62%
SBUV_18 | 0.83±0.91%

## Slide 15: Seasonal variability - global

## Slide 16: Seasonal variability - global

## Slide 17: Seasonal variability – NH & SH
Northern Hemisphere
Southern Hemisphere

## Slide 18: Seasonal variability – NH & SH
Northern Hemisphere
Southern Hemisphere

## Slide 19: Solar Zenith Angle dependency

## Slide 20: Solar Zenith Angle dependency

## Slide 21: Effective Temperature dependency

## Slide 22: Investigating the effective temperature dependency issue

## Slide 23: Total Ozone Column Dependency

## Slide 24: Total Ozone Column Dependency

## Slide 25: Cloud parameters dependency
Cloud Top Pressure
Cloud Fraction
Notes: CTP 350 mbars for the OMPS instrument, very few data points [around 50 compared to around 1500 for the 500,

## Slide 26: Comments/recommendations - I
The main aim of this validation exercise is to assess the potential of the different TOC datasets as input to a common European/American [or American/European!] merged TOC dataset.
The following comments may be made based on this exercise:
  OMI/Aura OMTO3 (v8.5) data constantly underestimate TOC compared to the other datasets.
      Recommendation → consider looking into the OMI/Aura OMDOA3 (v8.5) data [?].
  Suomi NPP OMPS data follows quite closely the GOME1/SCIA/GOME2 triad.

## Slide 27: Comments/recommendations - II
  No seasonal variability in any dataset [apart from BUV/4].
  SZA variability within ±2% for all sets [apart from BUV/4].
  Very strong total O3 column dependency for all SBUV sets, with some overestimation for the low/normal total O3 and severe under-estimation for the high total O3.
  A slight positive “bump” appears for 200-250 D.U. for all datasets. Any explanation? Transition from hole conditions to normal conditions? Polar vortex issues?
  For the GOME1/SCIA/GOME2 triad the known effective temperature dependency is confirmed for the GODFIT v3 algorithm as well. It appears to be responsible for most of the lingering SZA effects we see.

## Slide 28: Additional material

## Slide 29: NH variability

## Slide 30: SH variability

## Slide 31: Latitudinal variability

## Slide 32: Global seasonal variability

## Slide 33: Solar zenith angle dependency

## Slide 34: Total ozone column dependency

## Slide 35: Brewer [full set of stations!] Effective Temp Dependency

## Slide 36: Brewer [full set of stations!] SZA Dependency