## Slide 1: WGCV-53 GHG task team (joint campaign and match-up dataset)
Akihiko KUZE, GHG task team
Agenda Item # 3.7
WGCV-53, Córdoba, Argentina
5th - 8th March 2024

## Slide 2: Buenos Aires GHG by GOSAT-2
https://www.eorc.jaxa.jp/GOSAT/CO2_monitor/index_Ver.K.G2.html

## Slide 3: Downtown Buenos Aires CO2 and CH4 Long term by GOSAT
Light Green
Lower troposphere
Dark Blue
Upper troposphere
Light Red
Total column
Upper: CO2
Lower: CH4

## Slide 4: Topics
Joint Cal/Val Campaign meeting for OCO-TROPOMI-TEMPO-GOSAT (Jan. 19, 2024）
2023 campaign results
Uncertainty in vicarious calibration
Solar and lunar calibration high spectral resolution data set
B. GHG match-up database – GOSAT, GOSAT-2 AIRS, IASI, CrIS Match ups
Math up dataset with SNO (nadir) and 2O- SONO (off nadir)
Simultaneous nadir overpasses (SNOs)
2-orthogonal simultaneous off-nadir overpass (2O-SONO)
(2) Double Difference Method using the common target

## Slide 5
A. RRV Vicarious calibration
Summary of TROPOMI-OCO-GOSAT calibration meeting (Jan. 19)
Long term L1B using prelaunch vs forward calculation with a common RT model with RRV campaign data using 5 different footprints of GOSAT, GOSAT-2,OCO-2, OCO-3 and TROPOMI with viewing geometry and IFOV correction
Uncertainties Estimation toward seamless multi-sensor and long-term data set
Investigate the difference of 5% in OCO-2 between JPL and GOSAT team analysis
BRDF correction error
Long term stability (RRV2023 shows large change in forward viewing geometry)
Geometry correction error (forward and backward reflection)
Large off-nadir angle correction (especially for OCO-3, TROPOMI)
Polarization (sensitivity 2—5% estimated from RRV2023, should be updated in RRV2024 campaign)
3. Recommendation of geometry and data selection for vicarious calibration

## Slide 6
A. Solar and Lunar Calibration products
1. Request by the TSIS team
The TSIS team is interested in long term and high spectral resolution data from solar calibration by GHG spectrometers
2. Lunar Calibration WS at EUMETSAT in Dec. 2023
GOSAT-2 lunar calibration presentation
Deviation of the absolute radiometric calibration from the lunar model it too large.
Request for Hight spectral resolution data and TIR data by GOSAT and GOSAT-2 (no TIR data were acquired yet to avoid operation risk)
3. Long term and analysis ready GOSAT solar calibration data

## Slide 7
16th Joint Vicarious Calibration Campaign June 12-17, 2024
June 14 (TROPOMI nadir (8.1 deg) , OCO-2, GOSAT)
June 16 (TROPOMI off nadir (46.3 deg), OCO-2, GOSAT, GOSAT-2)
2. OCO-3 becomes ready from the storage and after initial check
3. Estimate uncertainties
Update polarization sensitivity of the playa surface
4. Add TEMPO near O2-A (POC: Xiong Liu, Harvard Smithsonian)
Spectral range: 290–740 nm (UV, VIS); spectral sampling: 0.2 nm; spectral resolution: 0.6 nm
A. Plan for 2024 joint
Vicarious Calibration Campaign

## Slide 8
B. GHG match-up database (nadir)
SNO match up data set
SNO match ups dataset collaborating with SSEC, U of Wisconsin
GOSAT GOSAT-2
AIRS
(to be replaced by NOAA-20, 21 CrIS)
IASI
Long term (5 year)
GOSAT-2 IASI SNO
GOSAT2 - IASI (2019～2023) distance <100km, |lat| < 2deg, |SAT zenith| < 2deg, |GOSAT-2 AT| < 2deg
CO2: 681.99-691.66 cm-1
Window: 900.31-903.78 cm-1
O3 : 1030.08-1039.69 cm-1
CH4: 1304-1306 cm-1

## Slide 9
Scan angle (+)
GOSAT
AT angle
AIRS
Ascending
Descending
B. GHG match-up database (off-nadir)
Needs for 2O-SONOs
2-orthogonal simultaneous off-nadir overpass (2O-SONO)
GOSAT and GOSAT-2 have 2-axis pointing capability improve targeting GHG emission points such as mega cities.
TIR needs frequent calibration but only 1-axis rotation for calibration
Demonstrates AT vs CT Cross-Calibration
Suto et al., Atmos. Meas. Tech 2022

## Slide 10
B. GHG match-up database (off-nadir)
SONO match up data set
Long term (5 year) GOSAT-2 IASI SONO
CO2 682-692 cm-1
SNO
IASI=0deg
G2=0deg
09:30
13:00
Lat=81deg
G2 swath
IASI swath
SONO
IASI= -38degCT
G2= -38degAT
Lat=74deg
NH
G2 AT<0
G2 AT>0
+Y(pitch)
North

## Slide 11
B. GHG match-up database (off-nadir)
Double Difference X-CAL
Double Difference =
((Measured by A) – (Simulation for A)) - ((Measured by B) – (Simulation for B)) -
To minimize the caused by due to geometry difference, radiative Double
Kataoka et al., TGRS 2014
Ground data can reduce uncertainties

## Slide 12
B. GHG match-up database (off-nadir)
Double Difference X-CAL over RRV site
Multiple sensors observe RRV calibration site from different geometries.
Surface reflectance, BRDF, Emissivity are available.
Double difference approach will minimize the bias due to different geometry

## Slide 13
B. GHG match-up database Double
Long term & high spectral resolution data will be available from GHG Cal site

## Slide 14: Presenter Guidelines 1
Slide ‹#›
Presenters should name their file using the following convention:
  AgendaItemNumber_LastName_Subject_Version (e.g., 1.1_Goryl_WGCV-53_Welcome_v1)
Documents and presentations should be uploaded to the shared folder to allow for streamlined self service
  Shared Presentation Folder (default view only, ask for upload/edit permission as required)
  For support contact riza@symbioscomms.com or matthew@symbioscomms.com
  Documents for endorsement should be submitted by 20 Feb
  Documents (for information only) and Presentations should be submitted by 27 Feb
Reporting to engage discussion or decision is encouraged, but detailed reporting should be provided as pre-meeting reading material or in background slides.
Meeting website: https://ceos.org/meetings/wgcv-53/